SenseMinds 360

Backend API Reference

For frontend developers · Generated from the live API specification · 18 July 2026

For frontend developers. Every endpoint below is live; every example response was captured from the running system, not written by hand.

Base URL: {HOST}/api/v1 (ops endpoints are at the root, not under /api/v1)

Format: JSON in, JSON out. Content-Type: application/json on every POST with a body

— except /auth/token, which is form-encoded (OAuth2 standard).

Interactive spec: `{HOST}/docs` (Swagger UI) and `{HOST}/openapi.json`.

These are generated from the code, so they are never out of date.

## 1. Authentication

All /api/v1 endpoints except /auth/token require a Bearer token.

### POST /api/v1/auth/token — log in

Form-encoded (application/x-www-form-urlencoded), not JSON.

username=admin&password=admin

{ "access_token": "eyJhbGciOiJIUzI1NiIsInR5cCI6IkpXVCJ9...", "token_type": "bearer" }

Send it on every subsequent call:

Authorization: Bearer <access_token>

Token lifetime is 720 minutes (12 h) by default — configurable via SENSEMINDS_ACCESS_TOKEN_TTL_MINUTES.

### GET /api/v1/auth/me — who am I

{ "username": "admin", "roles": ["admin"] }

Use this on app boot to validate a stored token and to drive role-based UI.

### Roles

| Role | Can do |
| --- | --- |
| admin | everything, including POST /alerts/test |
| reliability_engineer | all read endpoints, trigger analysis |
| maintenance_engineer | all read endpoints, trigger analysis |

admin implicitly satisfies every role check.

### Error contract

| Status | Meaning | Frontend should |
| --- | --- | --- |
| 401 | missing / expired / invalid token | clear the token, redirect to login |
| 403 | authenticated but role not permitted | show "not permitted", don't log out |
| 404 | unknown unit | show "machine not found" |
| 422 | query/body validation failed | fix the request; body names the field |
| 502 | upstream failure (e.g. SMTP) | surface the message, it is human-readable |
| 503 | feature not configured (e.g. SMTP absent) | hide/disable the feature |

422 bodies name the offending parameter, e.g.:

{"detail":[{"type":"greater_than_equal","loc":["query","points"], "msg":"Input should be greater than or equal to 10","input":"3"}]}

## 2. Assets

### GET /api/v1/assets — machine list

Use for the sidebar / fleet grid.

[ { "unit": "COM-102", "equipment_class": "utility_air_compressor", "display_name": "COM-102", "sensor_count": 8 } ]

### GET /api/v1/assets/{unit} — one machine, with sensors and subsystems

{ "unit": "SC-126", "equipment_class": "screw_compressor", "display_name": "SC-126", "sensor_count": 10, "sensors": [ { "key": "suction_pressure", "display_name": "Suction Pressure", "sensor_type": "pressure", "unit": { "symbol": "kg/cm2", "assumed": false } } ], "subsystems": [ { "key": "compression", "display_name": "Compression", "sensor_keys": ["suction_pressure", "discharge_pressure"] } ] }

subsystems drives the digital-twin layout; unit.assumed tells you whether the engineering unit was inferred rather than specified (show it differently if true).

## 3. Findings — the core data model

A Finding is an immutable, evidence-backed engineering claim. Findings are append-only; they are never edited or deleted.

### GET /api/v1/assets/{unit}/findings

| Query param | Type | Default | Notes |
| --- | --- | --- | --- |
| origin | derived ¦ diagnosed ¦ learned | all | how it was produced |
| category | string | all | threshold, health, reliability, anomaly, … |
| severity | ok ¦ info ¦ warning ¦ critical | all |  |
| history | boolean | false | false = current state only; true = full history |

Default (`history=false`) returns the current state — the newest observation of each condition the latest analysis still sees. A condition that has cleared drops out. This is what you want for a dashboard.

{ "finding_id": "224d3e1d408bc683", "identity_key": "253615721127ab11", "finding_type": "threshold_critical", "category": "threshold", "scope": "sensor", "origin": "derived", "summary": "discharge_pressure reached a critical threshold state", "detail": "Latest reading 283.71 breached a protection setpoint.", "target_key": "discharge_pressure", "equipment_key": "SC-126", "subsystem_key": "compression", "severity": "critical", "confidence": { "value": 1.0, "rationale": "100.0% coverage (9664 of 9664 readings evaluated)." }, "evidence": [ { "artifact_id": "SC-126__threshold", "description": "current state critical", "observed_value": 283.71 } ], "source_engine": "threshold", "observed_window": { "start": "…", "end": "…" }, "triggered_by": [] }

Key fields for UI work

| Field | Use |
| --- | --- |
| finding_id | unique per observation — React key, and what the Copilot cites |
| identity_key | stable across observations of the *same* condition — use to correlate over time |
| origin | derived = measured fact · diagnosed = rule-derived cause · learned = ML hypothesis (advisory only — never present as fact) |
| severity | drives colour. Only critical triggers alert emails |
| evidence[] | always show — this is what makes a claim checkable |
| triggered_by | identity_keys of findings that caused this diagnosis — renders the reasoning chain |

### GET /api/v1/assets/{unit}/diagnoses

Convenience filter: rule-derived (origin = diagnosed) findings only. Same shape.

## 4. Telemetry — raw sensor series

### GET /api/v1/assets/{unit}/telemetry

| Query param | Type | Default | Range |
| --- | --- | --- | --- |
| hours | number | 6 | ≤ 720 |
| points | integer | 90 | 10 – 500 |

Server-side downsampling (TimescaleDB time_bucket) — request the number of points your chart can actually draw, not the raw series.

{ "unit": "SC-126", "hours": 1.0, "sensors": [ { "key": "suction_pressure", "display_name": "Suction Pressure", "unit_symbol": "kg/cm2", "latest": { "time": "2026-07-18T08:44:00+00:00", "value": 16.97 }, "threshold": { "low": 10.0, "high": 30.0 }, "points": [ { "t": "2026-07-18T07:42:00+00:00", "v": 16.45 }, { "t": "2026-07-18T07:48:00+00:00", "v": 16.67 } ] } ] }

threshold may be null (no configured band) and low/high may be individually null — guard before drawing band shading.

## 5. Predictive Outlook

### GET /api/v1/assets/{unit}/outlook

Forward-looking summary. Not failure probability or remaining useful life — those need labelled breakdown history (Phase C) that does not exist yet. Read caveat and render it; it is part of the contract, not decoration.

{ "unit": "SC-126", "display_name": "SC-126", "condition_score": 93.6, "condition_basis": "Deterministic health score from measured readings (not a model output).", "weakest_subsystem": { "key": "compression", "score": 85.3 }, "soonest": { "sensor": "evaporator_entering_temp", "hours_ahead": 1.0, "bound": 8.0, "projected_value": 8.852, "model_name": "seasonal_naive", "model_version": "0.1.0", "backtest_mae": 0.023865, "interval_confidence": 0.7917, "summary": "…projected to approach its operating limit in ~1.0h (hypothesis)", "finding_id": "353505a8429d9f43" }, "forecasts": [ "…same shape, all projected approaches, soonest first…" ], "novelty": { "score": 1.0, "windows": 10, "top_features": [ { "feature": "discharge_pressure", "deviation": 3.4394 } ], "model_name": "isolation_forest_novelty", "finding_id": "…" }, "critical_count": 3, "headline": "3 conditions past a safe limit right now — act on those before anything forecast.", "caveat": "This is a trend projection against operating limits — not a failure prediction…", "recommendation": "Deal with the 3 critical conditions first: …", "recommendation_citations": ["c4d3aeb549694cff", "d5a207014..."] }

condition_score, soonest, and novelty are each nullable — a machine with no health finding, no projected approach, or no novelty signal returns null. Render "—", not NaN.

## 6. Alerts (escalation)

Alert rows are written in the same transaction as the finding that caused them, then emailed after commit. Every outcome is recorded, including ones deliberately not sent.

### GET /api/v1/alerts?limit=100 — recent across all machines

### GET /api/v1/assets/{unit}/alerts?limit=100 — one machine

limit: 1–500, default 100. Newest first.

{ "alert_id": "0db54918797044118492f29b923f3efd", "unit": "SC-126", "identity_key": "253615721127ab11", "finding_id": "224d3e1d408bc683", "kind": "triggered", "severity": "critical", "subject": "[SenseMinds 360] CRITICAL — SC-126: discharge_pressure reached a critical threshold state", "payload": { "summary": "discharge_pressure reached a critical threshold state", "detail": "Latest reading 283.71 breached a protection setpoint.", "target_key": "discharge_pressure", "display_name": "SC-126", "finding_type": "threshold_critical", "severity": "critical", "confidence": 1.0, "detected_at": "2026-07-18T08:41:33.661010+00:00", "evidence": [ { "description": "current state critical", "observed_value": 283.71 } ] }, "status": "sent", "attempts": 1, "last_error": null, "created_at": "2026-07-18T08:41:33+00:00", "sent_at": "2026-07-18T08:41:35+00:00" }

payload is frozen at decision time — render from it, don't re-fetch the finding.

`kind` — where the incident is in its lifecycle:

| Value | Meaning |
| --- | --- |
| triggered | became critical |
| reminder | still critical after 30 min, nobody acted |
| resolved | cleared |

`status` — what happened to the email:

| Value | Meaning | Suggested UI |
| --- | --- | --- |
| sent | delivered to SMTP | green "Email sent" |
| pending | queued, will retry | grey "Sending…" |
| failed | gave up after 5 attempts | red + show last_error |
| suppressed | flapping — recorded, deliberately not emailed | grey "Muted (flapping)" |
| skipped | SMTP not configured | amber "No email set up" |

### POST /api/v1/alerts/test — send a real test email (admin only)

No body. Sends through the production mailer and template.

{ "sent": true, "to": ["ops@example.com"], "detail": "accepted by SMTP server" }

503 if SMTP is unconfigured; 502 with the real SMTP error if the send fails.

## 7. Copilot (grounded LLM)

### POST /api/v1/llm/query

{ "unit": "SC-126", "question": "Is this machine safe to run?", "persona": "maintenance_engineer", "history": [ { "role": "user", "content": "…" }, { "role": "assistant", "content": "…" } ] }

persona: maintenance_engineer | reliability_engineer | plant_manager — changes register and detail, not facts. history is presentation-only conversation context (send the last few turns); it never becomes evidence.

{ "unit": "SC-126", "persona": "maintenance_engineer", "answer": "The machine SC-126 is not safe to run due to a critical discharge pressure threshold breach (ref: 224d3e1d408bc683)…", "claims": [ { "text": "discharge_pressure reached a critical threshold state", "category": "fact", "citations": ["224d3e1d408bc683"] }, { "text": "Condenser fouling suspected (equipment:SC-126)", "category": "diagnosis", "citations": ["6d6bd2c569a1a688"] } ], "insufficient": [], "citations": ["224d3e1d408bc683", "6d6bd2c569a1a688"], "model": "llama-3.3-70b-versatile" }

Rendering rules that matter:

Every claim.citations[] entry is a finding_id — make them clickable to the finding.

category: fact · diagnosis · hypothesis · forecast. Style hypotheses and

forecasts as tentative; they are not facts.

insufficient[] lists questions the evidence could not answer. Show it — that

silence is deliberate, not a failure.

model — when it is deterministic_stub, no LLM key is configured. Show an

"offline mode" banner.

Uncited claims are dropped by the backend before you ever see them.

## 8. Analysis and audit

### POST /api/v1/analyze — trigger an analysis run

{ "unit": "SC-126" }

{ "unit": "SC-126", "run_id": "…", "input_hash": "8c8e…", "finding_count": 9, "replayed": false }

replayed: true means this exact input was already analysed — a no-op, not an error. Show "No new readings since the last check."

### GET /api/v1/runs/{unit} — engine-run audit trail

Run history with status, timings, finding_count, engine versions, artifact ids.

Can be large — paginate or slice client-side.

### POST /api/v1/readings — push readings in (ingestion)

For integrations, not the dashboard.

## 9. Knowledge graph

### GET /api/v1/assets/{unit}/graph

{ "unit": "SC-126", "nodes": [ { "id": "equipment:SC-126", "type": "Equipment", "properties": {} } ], "edges": [ { "src": "…", "dst": "…", "type": "HAS_SUBSYSTEM", "properties": {} } ] }

Large payload (~120 KB for one machine). Fetch only when the graph view opens.

## 10. Ops endpoints (no auth, root path)

| Endpoint | Use |
| --- | --- |
| GET /health | liveness — is the process up |
| GET /ready | readiness — is the DB reachable. Use this for load-balancer probes |
| GET /metrics | Prometheus text format |

# platform metrics senseminds_up 1 senseminds_findings_total 8129 senseminds_engine_runs_total 6158 senseminds_kg_nodes_total 3021

## 11. Frontend integration notes

Polling cadence. The backend analyses every 30 s. Match it — faster is wasted work:

| View | Interval |
| --- | --- |
| Telemetry, outlook, alerts | 30 s |
| Findings / asset detail | 30 s, or on user action |
| Graph, reports, runs | on open only — never poll |

Payload sizes. assets, findings, telemetry, outlook, alerts are small and safe to poll. graph (~120 KB), reports and runs (hundreds of KB) are not.

Token handling. Store the token; attach it to every request; on 401, clear it and redirect to login. A 403 is *not* a login failure — do not log the user out.

Timezones. All timestamps are UTC ISO-8601 with an explicit offset. Convert for display; never assume local time.

Nullability. Assume nullable and guard: threshold, latest, condition_score, soonest, novelty, weakest_subsystem, subsystem_key, last_error, sent_at.

Evidence is the point. Any UI that shows a conclusion should be able to show the evidence behind it. evidence[] on findings, citations[] on Copilot claims, and payload.evidence on alerts all exist for this.

Learned ≠ fact. origin: "learned" findings, novelty, and forecasts are advisory hypotheses. Never render them with the same weight as measured facts — the backend deliberately never alarms on them alone.